Scaling Nagios At A
Giant Insurance Company
Daniel Wittenberg
dwittenberg2008@gmail.com
https://github.com/dwittenberg2008/nagios

---
Personal Background
- Certified for HP-UX in mid 90's, then RHCE in '99, and AIX in early 2000's.
- Worked on lots of different technologies and solutions including HA, SAN/iSCSI, Forensics/Security, Backups/Disaster Recovery, Performance Tuning, Capacity Planning, Monitoring/Trending, Networking/Protocol Analysis, Virtualization and Cloud Computing.
- Consulted and worked in many industries include insurance, banking, accounting, construction, embedded hardware design, printing/publishing early education, higher education, and ISP/hosting providers.

---
Topics
- Hardware
- Operating System
- Nagios Core
- Plugins
- Other Add-ons
- Event Brokers
- Other Software
- Performance Monitoring
- General

---
Overview

---
Hardware
- Hardware vs VMware
  - High forking rate not good fit for VMware
- CPU Requirements
  - Quantity vs Quality
- Memory
  - Typically memory efficient, but have enough for ramdisk(s)
  - Affected by your plugins if using active checks
- Disk I/O
  - Faster the better!

---
VMware Performance Comparison
Isolated VMWare ESX 4
Procs	Memory	Hosts	Avg Svc Lat	Avg CPU Util	Avg CPU Load	# Act Checks	# Pass Checks
4	8 GB	1000	182	65	5	12084	6042
8	8 GB	1000	162	47	4	12084	6042
8	8 GB	600	87	60	8	7272	3636
Physical Dell PowerEdge R710 (new)
Procs	Memory	Hosts	Avg Svc Lat	Avg CPU Util	Avg CPU Load	# Act Checks	# Pass Checks
4	16 GB	1000	0.19	10	1.25	12084	6042
8	8 GB	1000	0.38	25	1.15	12084	6042
Physical HP Proliant DL380 G4 (~ 8 years old)
Procs	Memory	Hosts	Avg Svc Lat	Avg CPU Util	Avg CPU Load	# Act Checks	# Pass Checks
4	4 GB	800	0.29	32	1.95	9684	4842
8	4 GB	1000	0.47	37	4.43	12084	6042

---
Operating System
- CentOS / RHEL 5.6
- Strip down the running services
- Create ramdisks in Nagios RC script
  - first one for status.dat, checkresults, temp_file
  - second one for pnp processing directory, moved there by nagios perf command
  - nagios.rc on github for full rc script
ramdisk=`mount |grep "/var/nagios/ramcache"`
if [ "$ramdisk"X == "X" ]; then
   mkdir -p -m 755 /var/nagios/ramcache
   mount -t tmpfs -o size=128m tmpfs /var/nagios/ramcache
   mkdir -p -m 755 /var/nagios/ramcache/checkresults
   chown -R nagios:nagios /var/nagios/ramcache
fi

---
Operating System
- Make sure no ulimit restrictions
  ulimit -a
- Renice daemons and services
  daemon -15 --user=$user $exec -d $config
  perfdata_file_run_cmd =/bin/nice -n 20 /usr/libexec/pnp4nagios/process_perfdata.pl
  puppet runs also re-niced (/etc/sysconfig/puppet – NICELEVEL=19)

---
Nagios Core
- Currently using Nagios 3.2.3
  - Empty hostgroups patch
  - Non-existent device patch (causes sigfault w/pipe)
- Large Scale Suggestions Doc
  - Pre-caching objects
  - Re-write RC script to optimize restart time
  - Don't allow restart/stop if config broken
  - Limit use of macros (resources.cfg)

---
Nagios Core
- Remove use of CGI's
  - Using Livestatus/Multisite/livestatus-slave
- Limit use of backups (crazy huh?)
- Keep logging level low in all core and plugins/brokers
- Keep comments limited, delete if X # or Y days old
- status_update_interval=20 (default is 10)
  (how often to update the status.dat in seconds)
- enable_environment_macros=0 (default is 1)
  (pass macros as ENV variables)

---
Plugins
- check_nrpe
- check_logfiles
- check_hpasm / check_dell_sensors / check_dell_omreport
- check_oracle_health – check_mysql_health
- check_ps.sh (re-written for perf data, correct calculations)
- nagios_auto_service
- Return perf data whenever possible
- Many other custom and one-up plugins

---
Other Add-ons
- NRPE
  - Patched to allow large buffer size
- NSCA – (NRDP future ?)
  - max_packet_age=60, forward and back time patch
  - Run from xinetd to allow larger/faster connections
  - MUST use instances = UNLIMITED
  - Recommend per_source = UNLIMITED
  - Recommend cps = 5000 3
- NSClient++
  - Many updates for buffering, data truncation, queueing
- PNP4Nagios
  - 0.6 branch, since php53 RPM's available

---
Event Brokers
- DNX
- Mod-Gearman (under evaluation)
- MK Livestatus
- Performance Data Splunker (custom)
- Log separator (reduces grepping for messages) (custom)

---
Other Software
- Puppet
  - Manage entire server
- Splunk
  - Log files, performance data
- Graylog2 ? (not implemented yet)
- Cacti
  - Nagiostats template, updated to use livestatus instead of CGI
- Custom Control Panel
  - Build host groups based on templates, auto-config based on host info
- ConSol Labs
  - check_logfiles, check_hpasm, mod_gearman, check_mysql_health, check_oracle_health

---
Performance Monitoring
How to watch your system to determine bottlenecks
- vmstat
- iostat
- top
- iptraf
- sar
- strace
- esxtop (if have to use VM)

---
General Configs
- Host config files are standalone configurations that tell everything about a host.
- Hosts are tied to a hostgroup
- Hostgroups are tied to a servicegroup
- Services are tied to a servicegroup
  host.cfg → hostgroups → servicegroups ← services
- This allows for easy drop-in and removal of hosts, but also requires at least 1 host be assigned to a management server
- Limitations – harder to make per-server per-service customizations
- Hosts are built/assigned from control panel (round-robin distribution)
- Parents built automatically from topology database, updated nightly, ESX hourly
- Parent's only ping once a day unless there are problems, uses fping
- Some alerts do trigger eventhandlers – auto-fix as much as possible

---
General Configs
Types of things being monitored:
- cpu load, cpu stats (idle/wait/user/system), disk space, log files/Event Log, hardware, processes, swap, memory usage, service ports, NTP drift, cron job completion, UPS
- Nagios configtest, livestatus connectivity
- PNP4Nagios directory size (keeping up on processing)
- Performance (cpu/memory) usage on certain processes
- Puppet update time to make sure doesn't get behind
- DB Response times (oracle/mysql/postgresql)
- Apache Stats
- Custom app status (user accounts, response times, loads, etc.)
- Various SNMP/WMI values (most network related stats)

---
Links – where to find this stuff
- My Stuff – https://github.com/dwittenberg2008/nagios
- MK Livestatus - http://mathias-kettner.de/checkmk_livestatus.html
- LivestatusSlave - http://nagios.larsmichelsen.com/livestatusslave/
- PNP4Nagios - http://docs.pnp4nagios.org/pnp-0.6/start
- ConSol Labs - http://labs.consol.de/
- Puppet - http://puppetlabs.com/
- DNX - http://dnx.sourceforge.net/
- Cacti Template (Base) - http://forums.cacti.net/about33806.html

---
Questions ?
Suggestions ?