## Slide 1
Nagios and Mod-Gearman In a Large-Scale Environment
Jason Cook <jcook@verisign.com>
8/28/2012

## Slide 2
A Brief History of Nagios at Verisign

## Slide 3
Whitepaper NSCA configuration
  Typical 3-Tier setup
    Remote System
    Distributed Nagios Servers
    Central Nagios Servers
  Architecture in-place for several years
  Reasonably stable, though high-maintenance
  Very heterogeneous environment.
    Many OS and Nagios versions
All notifications sent to an Event Management System
Offloaded graphing/trending to a custom solution.
Legacy Nagios Setup

## Slide 4: Simplified Passive Architecture Diagram

## Slide 5
Scaling the Nagios server layers
  Requires changes to all NSCA instances using the servers
  Load-Balancing solutions mostly require removing freshness checks…
Freshness checking is a challenge
  More freshness checking means more Nagios forking.
    More Nagios forking is more operational sadness in a large environment.
    With Freshness, you end up having an active environment, even if it wasn’t your intention.
  Freshness errors do not tell the whole story
    Where is the problem?
      Even if you know where the problem is, it can be difficult to track down what’s causing it. Nagios? Plugin? System busy? NSCA? Network? Many questions, few obvious answers.
Challenges with our passive setup

## Slide 6
Lack of centralized scheduling
  Adjusting schedules can be difficult for those without in-depth knowledge of Nagios and how it all works.
  Inability to have a user run a check immediately without having even more in-depth knowledge about Nagios.
Lots of Nagios builds for various platforms.
  Since we were using NSCA, we needed libmcrypt for encryption.
    libmcrypt not a standard library for many systems, so yet another package to maintain.
All of this needed quite a bit of custom code for intelligent result queuing/sending so as to gracefully handle network outages and minimize send_nsca forking (especially on the distributed servers).
Challenges with our passive setup (continued)

## Slide 7
A Move to Active Monitoring

## Slide 8
Gearman
  Provides a generic application framework to farm out work to other machines or processes that are better suited to do the work.
  Integrates with Nagios via the Mod-Gearman NEB module.
NRPE
  Nagios Remote Plugin Executor
Merlin
  Module for Effortless Redundancy and Loadbalancing In Nagios
  Allows our Nagios instances to share scheduling (and therefore check results) between one another.
    Great for load sharing and redundancy
An alternative arises…

## Slide 9: Simplified Active Architecture Diagram

## Slide 10
All components run in VMs
Nagios 3.4.1 (with nanosleep)
Merlin (1.1.15)
Mod-Gearman 1.2.6
MK Livestatus (perhaps the greatest NEB module of all time)
Merlin setup is a simple peer<->peer configuration
Mod-Gearman NEB modules are configured to talk to multiple gearman servers (gearman server preference is alternated on each system, so that Gearman server failures are easily handled)
One Mod-Gearman worker process for each gearman server per worker.
Some details about the setup

## Slide 11
VM Configuration:
  4 V-CPUs
  2GB RAM
  Linux 2.6.32
Performance Considerations
  Very CPU Bound
  RAM usage is very low
VM Usage
  2 Nagios server
  2 Gearman Server
  2 Mod-Gearman Workers
VM Configuration & Performance

## Slide 12
Nagios
  100000 services @ 5 minute interval
  sleep_time = 0.01
  host_inter_check_delay_method=n
  service_inter_check_delay_method=0.01
  max_concurrent_checks=0
  5 gearman collector threads
Gearman
  10 I/O Threads
Mod-Gearman Workers
  1000 worker processes per system
  50 per second max spawn rate
Application Configurations

## Slide 13
Performance Results

## Slide 14
These 6 VMs can easily handle 20000 active services per minute.
  Additional capacity can be had easily
    Add Merlin peers
    Add more workers
  Scales up very well
renice of critical processes makes sure they’re getting the priority they need.
The environment can be a bit fragile.
  Less fragile than before, but still has several components which all must be working correctly.
Observations

## Slide 15
Much less hardware
Centralized view and control over all monitoring
Opportunity to leverage the Gearman architecture for other services
Higher confidence in monitoring accuracy
More flexibility in scheduling logic.
Event handlers become very useful, since there is a broader view of the infrastructure via MK Livestatus.
Benefits

## Slide 16
Tested several methodologies before arriving at the Nagios+Gearman conclusion.
  Multisite
  DNX
  NRDP
The current design is still a work in progress, but will be easier to change and grow (Nagios 4?).
Move anything possible off of Nagios and to external processes.
Final Thoughts

## Slide 17
Verisign System Administrators for helping me test
Gearman (http://www.gearman.org)
ConSol Labs (http://labs.consol.de)
  Thruk
  Mod-Gearman
Mathias Kettner (http://mathias-kettner.de)
  MK Livestatus
op5 (http://www.op5.org)
  Merlin
Nagios (http://nagios.org)
  Nagios Core
  NRPE
Credits